## Tabelle1
top_scenario | sub_scenario | building_function | building_type | year_range | heating_day_setpoint_min | heating_day_setpoint_max | heating_night_setpoint_min | heating_night_setpoint_max | cooling_day_setpoint_min | cooling_day_setpoint_max | cooling_night_setpoint_min | cooling_night_setpoint_max | max_heating_supply_air_temp_min | max_heating_supply_air_temp_max | min_cooling_supply_air_temp_min | min_cooling_supply_air_temp_max | schedule_day_start | schedule_day_end | schedule_weekday_day_start | schedule_weekday_day_end | schedule_occupancy_weekday | schedule_occupancy_weekend
pre_calibration | scenario1 | residential | Two-and-a-half-story House | 1900-2000 | 19 | 21 | 15 | 16 | 24 | 26 | 26 | 28 | 45 | 55 | 12 | 14 | 7:00 | 23:00 | - | - | FullOccupancy | FullOccupancy
pre_calibration | scenario1 | residential | Two-and-a-half-story House | 2000-2024 | 20 | 21 | 16 | 16 | 24 | 25 | 26 | 27 | 45 | 55 | 12 | 14 | 7:00 | 23:00 | - | - | FullOccupancy | FullOccupancy
pre_calibration | scenario1 | non_residential | Meeting Function | 1900-2000 | 20 | 22 | 15 | 17 | 23 | 25 | 25 | 27 | 60 | 70 | 12 | 14 | - | - | 8:00 | 22:00 | MeetingFunction_Weekday | MeetingFunction_Weekend