## Tabelle1
scenario | calibration_stage | param_category | param_subkey | param_nested_key | range_min | range_max
scenario1 | pre_calibration | residential_infiltration_range | two_and_a_half_story_house |  | 1.1 | 1.3
scenario1 | pre_calibration | residential_infiltration_range | apartment |  | 0.9 | 1.1
scenario1 | pre_calibration | residential_infiltration_range | row_house |  | 1 | 1.2
scenario1 | pre_calibration | non_res_infiltration_range | meeting_function |  | 0.5 | 0.7
scenario1 | pre_calibration | year_factor_range | 1900-2000 |  | 2 | 2.4
scenario1 | pre_calibration | system_control_range_res | A | f_ctrl_range | 0.9 | 1
scenario1 | pre_calibration | system_control_range_res | B | f_ctrl_range | 0.5 | 0.6
scenario1 | pre_calibration | fan_pressure_range | res_mech |  | 40 | 60
scenario1 | pre_calibration | hrv_sensible_eff_range |  |  | 0.7 | 0.8
scenario1 | post_calibration | residential_infiltration_range | two_and_a_half_story_house |  | 1.2 | 1.2